### Section 1 – True/False	Each question is worth 1 mark

The quiz questions below are to be answered with a T (True) or F (False) in the box provided.

Answer

| - Conformity of Process is one of the principles behind ISO/IEC 17025 |  |
| --- | --- |
| - A quality system that conforms to ISO/IEC 17025 includes a program for continual improvement. |  |
| - The aim of Clause 8.3, - Document Control, is to minimize unnecessary distribution of procedures. |  |
| - Document control puts the right document into the right hands. |  |
| - Records do not need to be controlled – only documents. |  |
| - Continual improvement requires a laboratory to identify and track corrective action. |  |
| - All parts of a laboratory quality system must be documented |  |
| - Opportunities for improvement do not need to be identified or tracked. |  |
| - Preventive action and corrective action can follow the same approach |  |
| - Continual improvement includes procedures for conducting internal audits |  |
| - Management review does not need the input of top management |  |
| - Internal audits are only necessary for the years the laboratory is not assessed. |  |
| - Accommodations and equipment must always be monitored to prevent invalidation of test results |  |
| - Samples do not need to be tracked throughout the laboratory |  |
| - It is not possible to specify how a client must conduct sampling |  |
| - If the method has been published in a standard, it does not need to be validated. |  |
| - Uncertainties must be estimated for all non-numerical measurements. |  |
| - Laboratories can estimate uncertainties using statistical methods. |  |
| - “Uncertainty” is not a component of the Decision Rule. |  |
| - Auditors and assessors should have access to all personnel records during the conduct of their audits/assessments. |  |

### Section 2 – Multiple Choice	Each question is worth 1 mark

Circle the correct answer for each question in this Section. There is only one correct answer for each question.

- A quality manager (or management representative) is a staff member who has responsibility for the laboratory quality system, its implementation and who, in this capacity:

- Approves internal audit schedules.

- Arranges for the training of auditors.

- Sets laboratory quality objectives.

- Reports directly to top management.

- A master document list is required to record the following:

- Location and status of only lab documents

- Identification and approval of all external documents

- Determine the expected duration of the validity of a document

- Location and status of all documents used in the lab that are referenced in the quality system

- The following feedback mechanisms are required in 17025:

- Publish all feedback on the website.

- Record all feedback

- Respond to all feedback

- Ignore all feedback

- Management review, according to ISO/IEC 17025, requires examination of how many different issues/items:

- 7

- 13

- 11

- 19

- Which requirement specifically states the frequency of laboratory internal audits?

- 17025 does not specify a frequency for internal audits.

- Clause 8.8 of ISO/IEC 17025

- Clause 8.7 of ISO/IEC 17025

- Our accreditation body interprets APLAC TC 002 to require labs to undertake internal audit every year

- What are some of the considerations in metrological traceability?

- Specification of the measurand, unbroken chain of measurement, use of appropriate methods.

- Systematic error, use of appropriate decision rule, use of OIML R 111 class weights.

- Self-declaration of competence, unbroken chain of measurement, specification of the measurand.

- CIPM MRA, Joint Declaration on Legal Metrology, unbroken chain of measurement.

- Why is the standard called ISO/IEC 17025 and not ISO 17025?

- IEC paid money to the ISO to publish it

- IEC participates with ISO in its development as part of CASCO

- ISO is not the real copyright holder of ISO/IEC 17025

- ILAC insisted that ISO allow the IEC name to appear in the standard

- What is the meaning of the term ISO?

- It is an acronym for the International Standardization Organization.

- It is the acronym for the International Standards Organization

- It is the Greek for “the same” or “equal.”

- It means that the organization is really isolated from government influence

- What is the aim of ISO/IEC 17025?

- It is to allow governments to accredit laboratories

- It is to provide the tools that allow laboratories to produce consistent, technically valid results.

- It is to allow laboratories to enter foreign markets

- It is to force laboratories to use quality systems

- Traceability of measurement applies to:

- calibration laboratories only

- only physical measurement devices only

- all measurement devices and certified reference materials and standards

- all equipment which contributes to the overall uncertainty of the measurement.

- ISO/IEC 17025 contains the following types of requirements:

- Management system and technical requirements

- Management system and process requirements

- Quality system and technical requirements

- Leadership and management requirements

- Accreditation bodies conduct laboratory assessments:

- Against ISO/IEC 17025 alone

- Against ISO 9001 alone

- Against ISO/IEC 17011 and ISO/IEC 17025

- Against ISO/IEC 17025 and other accreditation requirements documents

- The Principle of “Capacity” is described as:

- The people with the skills and knowledge,

- The environment with the facilities and equipment

- The quality control and the procedures

- All of the above.

- Traceability includes three components for each step in the traceability chain:

- Uncertainty, calculation, documentation

- Calibration, uncertainty, traceability

- Documentation, registration, reference to the SI

- Calibration, uncertainty, competence

- Documents and records acquired or created during testing and calibration work:

- Are the property of the client.

- Are to be retained for future reference by the assessors.

- Are to be sent to the accreditation body

- Are to demonstrate conformance to laboratory procedures.

- Once a non-conforming condition is observed, the laboratory should first:

- Determine the level of conformance of the process when compared to requirements

- Find as many non-conformances as possible

- Understand the process under review as it is understood by the person responsible for it

- Allocate blame for the non-conformance

- Infernal audits are conducted to determine:

- The conformance of laboratory operations to its own QMS and 17025

- The conformance of laboratory operations with ISO 9001

- The financial stability of the laboratory

- The best suppliers of reference materials

- The following are Principles behind ISO/IEC 17025:

- Impartiality of Conduct, Objectivity of Results, Transparency, Process Approach

- Scientific Method, Capacity, Customer Focus, Objectivity of Results,

- Involvement of People, Exercise of Responsibility, Transparency, Traceability of Measurement

- Scientific Method, Objectivity of Results, Transparency, Traceability of Measurement

- The VIM definition of Measurement Traceability includes the following components:

- Uncertainty of measurement, calculation, reference to the SI, documentation

- Calibration intervals, uncertainty of measurement, unbroken chain of comparisons, competence

- Documentation, registration, reference to the SI, calibration intervals

- Reference to the SI, calibration intervals, resolution of measurement, competence

- The object of the Decision Rule is:

- Determine the level of conformance of the object of testing/calibration to the specification

- Relieve the client of responsibility in making compliance statements

- Explain the lab result to a person not knowledgeable of the science

- Protect the health, safety, and welfare of users of the object of testing/calibration.