## E2 for trainees
| x | y
| Months exposed | Pb in Water (ppb)
| 0 | 100.05
| 0 | 100.04
| 0 | 100.05
| 0 | 100.02
| 0 | 99.95
| 0 | 99.98
| 3 | 99.94
| 3 | 99.87
| 3 | 99.86
| 3 | 99.91
| 3 | 99.84
| 3 | 99.92
| 6 | 99.76
| 6 | 99.84
| 6 | 99.78
| 6 | 99.76
| 6 | 99.83
| 6 | 99.78
| 9 | 99.66
| 9 | 99.74
| 9 | 99.68
| 9 | 99.74
| 9 | 99.66
| 9 | 99.68
| 12 | 99.58 |  | Average Value of RM at the beginning of Stability study = |  |  |  | 100.015
| 12 | 99.64
| 12 | 99.63 |  | Shelf life (months) | Change in Value Δ | Uncertainty uLTS | Change in Value Δ + effect of uLTS | % of total change taking uncertainty also into account
| 12 | 99.58 |  | 18
| 12 | 99.59 |  | 24
| 12 | 99.58 |  | 36
48
s | 0.05 |  |  | 60
p-value
If,S >p value = Trend is established
Slope, b1= |  |  | Intercept, bo= | y= | b0+(b1x)
Std. Uncertainty in Slope, Sb1= |  |  | Std. Uncertainty in Intercept, Sbo=
Time dependent value and ults
[6 empty] | Value | % change | ults
Estimated Value and uLTS after 24 months
Estimated Value and uLTS after 36 months
Estimated Value and uLTS after 48 months
What is the shelf life if max. acceptable change in value is 1.5%
What is the shelf life if max. acceptable change in value is 2.5%
Time independent value and ults
[6 empty] | Value |  | ults
Estimated Value (when not changed with time) and uLTS after 24 months
Estimated Value (when not changed with time) and uLTS after 36 months
Estimated Value (when not changed with time) and uLTS after 48 months

## E2 TEMPLATE
| x | y
| Months exposed | Pb in Water (ppb)
|  |  |  | Average Value of RM at the beginning of Stability study = |  |  |  | #DIV/0!
|  |  |  | Shelf life (months) | Change in Value Δ | Uncertainty uLTS | Change in Value Δ + effect of uLTS | % of total change taking uncertainty also into account
18
24
36
48
s | 0.05 |  |  | 60
p-value
If,S >p value = Trend is established
Slope, b1= |  |  | Intercept, bo= | y= | b0+(b1x)
Std. Uncertainty in Slope, Sb1= |  |  | Std. Uncertainty in Intercept, Sbo=
Time dependent value and ults
[6 empty] | Value | % change | ults
Estimated Value and uLTS after 24 months
Estimated Value and uLTS after 36 months
Estimated Value and uLTS after 48 months
What is the shelf life if max. acceptable change in value is 1.5%
What is the shelf life if max. acceptable change in value is 2.5%
Time independent value and ults
[6 empty] | Value |  | ults
Estimated Value (when not changed with time) and uLTS after 24 months
Estimated Value (when not changed with time) and uLTS after 36 months
Estimated Value (when not changed with time) and uLTS after 48 months