## E3 Exercise for trainees
Continuous monitoring (post certification)
Is the property value of the CRM still valid?
Certified value (XCRM) | 9 | pH
UCRM | 0.02 | pH
Measured value (Xmeas) | 8.96 | pH
Umeas | 0.03 | pH | This value arises from the method uncertainty budget
1. Check if the following condition is met
2. Calculate the following. Use k = 2
3. Is the property value still valid?