Training program as per ISO/IEC 17043: 2023 & ISO 13528:2022

DATA FOR VALIDATION – Trial 1

| Assigned Value= |  |  |  |  | 126 | ug/L |
| --- | --- | --- | --- | --- | --- | --- |
| EU of Assigned value= |  |  |  |  | 3.1 | ug/L |
| Robust average of 43 participants= |  |  |  |  | 132.8 | ug/L |
| Robust SD of 43 participants= |  |  |  |  | 1.95 | ug/L |

Date:						Name of TRAINEE:

| Difference between the values = |  |
| --- | --- |
| 2 times combined uncertainty = |  |
| Validated or not = |  |

DATA FOR VALIDATION – Trial 2

| Assigned Value= | 38.1 | ug/L |
| --- | --- | --- |
| EU of Assigned value= | 0.91 | ug/L |
| Robust average of 43 participants= | 37.2 | ug/L |
| Robust SD of 43 participants= | 1.52 | ug/L |

Date:						Name of TRAINEE:

| Difference between the values = |  |
| --- | --- |
| 2 times combined uncertainty = |  |
| Validated or not = |  |

DATA FOR VALIDATION – Trial 3

| Assigned Value from 20 participants= | 245.80 | mg/L |
| --- | --- | --- |
| SDPA= | 12.90 | mg/L |
| Homogenity average | 256.7 | mg/L |
| EU (max) reported with Homogeneity= | 22.1 | mg/L |

Date:						Name of TRAINEE:

| Difference between the values = |  |
| --- | --- |
| 2 times combined uncertainty = |  |
| Validated or not = |  |

DATA FOR VALIDATION – Trial 4

| Assigned Value from 20 participants= | 32.10 | % |
| --- | --- | --- |
| SDPA= | 0.36 | % |
| Homogenity average | 34.5 | % |
| EU (max) reported with Homogeneity= | 0.96 | % |

Date:						Name of TRAINEE:

| Difference between the values = |  |
| --- | --- |
| 2 times combined uncertainty = |  |
| Validated or not = |  |