CROSS REFERENCE OF NEW STANDARD TO OLD STANDARD ISO/IEC 17043

| New Std Clause No | Title | Old Std Clause No |
| --- | --- | --- |
| 4.1 | Impartiality | 5.1.4 & 5.1.5 (d) |
| 4.2 | Confidentiality | 4.10 & 5.1.5 (c) |
| 5 | Structural requirements | 5.1 |
| 6.1 | General | 4.1 |
| 6.2 | Personnel | 4.2 |
| 6.3 | Facilities and environmental conditions | 4.3 |
| 6.4 | Externally provided products & services | 5.5 & 5.6 |
| 7.1.1 | Review of request, tender & contract | 5.4 |
| 7.1.2 | PT Scheme communication | 4.9 |
| 7.2.1 | General | 4.4.1 |
| 7.2.2 | Statistical design | 4.4.4 |
| 7..2.3 | Determination of assigned value | 4.4.5 |
| 7.3.1 | Production of PT items | 4.4.2 |
| 7.3.2 | Homogeneity & stability assessment of PT items | 4.4.3 |
| 7.3.3 | Handling & storage of PT items | 4.6.2 |
| 7.3.4 | Packaging, labelling & distribution of PT items | 4.6.3 |
| 7.3.5 | Instructions for participants | 4.6.1 |
| 7.4.1 | Data analysis | 4.7.1 |
| 7.4.2 | Evaluation of performance | 4.7.2 |
| 7.4.3 | PT reports | 4.8 |
| 7.5.1 | Technical records | 5.13.2 |
| 7.5.2 | Control of data & information management | 5.13.1 |
| 7.5.3 | Surveillance of the processes | NEW |
| 7.5.4 | Non conforming work | 5.9 |
| 7.6 | Handling of Complaints | 5.8 |
| 7.7 | Handling of Appeals | 4.9.3 |
| 8.1 | General requirements | 5.2.4 |
| 8.2 | Management system documentation | 5.2 |
| 8.3 | Control of management system documents | 5.3 |
| 8.4 | Control of records | 5.13.1 |
| 8.5 | Actions to address risks and opportunities | 5.12 |
| 8.6 | Improvement | 5.10 & 5.7 |
| 8.7 | Corrective Actions | 5.11 |
| 8.8 | Internal audits | 5.14 |
| 8.9 | Management reviews | 5.15 |

4.4.5 Choice of methods or procedures is addressed in 7.2.2.3 (f) [Statistical design] ,  7.2.1.3 (q) [ Planning] and 7.3.5.2 (g) [Instructions to participants] of new standard