Training program as per ISO/IEC 17043: 2023 & ISO 13528:2022

Data for assessment of homogeneity and stability

Write your answer in the bottom of the sheet

FOR GROUP 1 HOMOGENEITY

| 1 | 10.6 | 10.5 |
| --- | --- | --- |
| 2 | 9.4 | 9.5 |
| 3 | 10.4 | 10.5 |
| 4 | 9.5 | 9.4 |
| 5 | 9.8 | 9.9 |
| 6 | 9.6 | 9.5 |
| 7 | 10.5 | 10.4 |
| 8 | 10.3 | 10.2 |
| 9 | 10.8 | 10.9 |
| 10 | 10.7 | 10.5 |

FOR GROUP 1 STABILITY

| 1 | 10.0 | 10.1 |
| --- | --- | --- |
| 2 | 9.8 | 9.9 |
| 3 | 9.6 | 9.9 |

| SDPA = | 1.74 |
| --- | --- |

| Between the sample SD: |  |
| --- | --- |
| Homogeneous or Not: |  |
| Difference between Homogeneity average – stability average: |  |
| Stable or not: |  |

DATE OF STATISTICAL EVALUATION:

NAMES OF TRAINEE:

Data for assessment of homogeneity and stability

Write your answer in the bottom of the sheet

FOR GROUP 2 HOMOGENEITY

| 1 | 1092 | 1080 |
| --- | --- | --- |
| 2 | 1079 | 1067 |
| 3 | 1075 | 1071 |
| 4 | 1089 | 1074 |
| 5 | 1056 | 1064 |
| 6 | 1054 | 1067 |
| 7 | 1055 | 1050 |
| 8 | 1035 | 1035 |
| 9 | 1045 | 1045 |
| 10 | 1052 | 1049 |

FOR GROUP 2 STABILITY

| 1 | 1061 | 1064 |
| --- | --- | --- |
| 2 | 1055 | 1067 |
| 3 | 1049 | 1050 |

| SDPA = | 31.37 |
| --- | --- |

| Between the sample SD: |  |
| --- | --- |
| Homogeneous or Not: |  |
| Difference between Homogeneity average – stability average: |  |
| Stable or not: |  |

DATE OF STATISTICAL EVALUATION:

NAMES OF TRAINEE:

Data for assessment of homogeneity and stability

Write your answer in the bottom of the sheet

FOR GROUP 3 HOMOGENEITY

| 1 | 2.86 | 2.85 |
| --- | --- | --- |
| 2 | 2.78 | 2.71 |
| 3 | 2.91 | 2.86 |
| 4 | 2.81 | 2.70 |
| 5 | 2.91 | 2.73 |
| 6 | 2.75 | 2.81 |
| 7 | 2.61 | 2.69 |
| 8 | 2.73 | 2.64 |
| 9 | 2.70 | 2.83 |
| 10 | 2.76 | 2.80 |

FOR GROUP 3 STABILITY

| 1 | 2.90 | 2.84 |
| --- | --- | --- |
| 2 | 2.85 | 2.91 |
| 3 | 2.76 | 2.75 |

| SDPA = | 0.14 |
| --- | --- |

| Between the sample SD: |  |
| --- | --- |
| Homogeneous or Not: |  |
| Difference between Homogeneity average – stability average: |  |
| Stable or not: |  |

DATE OF STATISTICAL EVALUATION:

NAMES OF TRAINEE:

Data for assessment of homogeneity and stability

Write your answer in the bottom of the sheet

FOR GROUP 4 HOMOGENEITY

| 94.78 | 94.51 |
| --- | --- |
| 94.10 | 94.78 |
| 94.64 | 94.79 |
| 94.64 | 94.32 |
| 94.39 | 94.63 |
| 95.00 | 94.19 |
| 94.94 | 95.16 |
| 93.02 | 93.34 |
| 94.11 | 94.37 |
| 94.24 | 94.85 |

| Expected standard deviation for proficiency assessment – SDPA | 0.89 |
| --- | --- |

FOR GROUP 4 STABILITY

| 95.12 | 94.79 |
| --- | --- |
| 94.76 | 94.32 |
| 93.84 | 94.63 |

| Between the sample SD: |  |
| --- | --- |
| Homogeneous or Not: |  |
| Difference between Homogeneity average – stability average: |  |
| Stable or not: |  |

DATE OF STATISTICAL EVALUATION:

NAMES OF TRAINEE: